Clinical Headwalls – Environmental Considerations for the RFP/RFI Process

The following questions are taken in part from the list of Standardized Questions for Medical Products where applicable and can be considered for the RFP/RFI process.

December, 2011 rev2

| # | Question | Preferred Response | Definition | Rationale |
| --- | --- | --- | --- | --- |
| Natural Resources |  | Is this product packaged without polystyrene? (Yes/No) | Yes | Polystyrene (CAS 9003-53-6) is a plastic polymer from the monomer styrene. It comes in many forms: sheet, expanded or extruded foam, or as oriented polystyrene. What is commonly known as Styrofoam™ refers only to the extruded form of polystyrene. Packaging refers to all materials (primary, secondary, etc) used to transport and protect a product from damage. Alternatives to polystyrene packaging are available. | Also referred to as ‘PS’ with the SPI (Society of the Plastics Industry) resin code 6, polystyrene is difficult for hospitals to recycle and there are alternatives. Polystyrene is made with styrene. The International Agency for Research on Cancer (IARC) classifies styrene as a possible carcinogen. Foam blowing agents (called hydrochlorofluorocarbons, HCFCs) used to make polystyrene foam are compounds that have an ozone depletion potential. |
| Chemicals |  | Is this product free of intentionally added polyvinyl chloride (PVC)? (Yes/No) | Yes | Polyvinyl chloride (PVC) shall be defined as a plastic polymer used in a wide array of products. It is the third most widely produced plastic. Intentionally added means a substance is deliberately added in the production of the product. | Production and incineration of PVC releases dioxins and other harmful chemicals. Dioxins are widely distributed throughout the environment in low concentrations and are persistent, bioaccumulative and toxic (PBT). Dioxins are potent toxicants with many health impacts even at low exposure levels. |
|  |  | Is this product free of intentionally added phthalates: DEHP, BBP, DnHP, DIDP, and DBP? (Yes/No) If no, please specify the phthalate(s) | Yes | Phthalates are esters of phthalic acid mainly used as plasticizers (substances added to plastics to increase their flexibility, transparency, durability, and longevity). They are used primarily to soften polyvinyl chloride (PVC). Di-2-ethyl hexyl phthalate (DEHP) CAS 117-81-7, Benzylbutylphthalate (BBP) CAS 85-68-7, Di-n-hexyl phthalate (DnHP) CAS 84-75-3, Di-isodecyl phthalate (DIDP) CAS 68515-49-1 or 26761-40-0, Dibutyl phthalate (DBP) CAS 84-74-2 | People can be exposed through the use of products containing these chemicals. In 2002, the FDA issued a Public Health Notification for PVC devices containing DEHP. DEHP is also listed as a carcinogen on the Prop 65 list. The National Research Council has also noted the importance of looking at cumulative exposure from multiple phthalates. These five phthalates are listed as reproductive toxicants by Prop 65. |
|  |  | Is this product free of intentionally added Bisphenol A (BPA) or BPA derived plastics (such as polycarbonate plastic and resins)? (Yes/No) | Yes | Bis(4-hydroxyphenyl)propane, or Bisphenol A (BPA), is an organic compound used to make polycarbonate plastic, epoxy resins and for other applications. Polycarbonate plastic is derived from BPA. Resin derived from BPA is used to line metal food containers and in thermal paper for impact printing purposes. Intentionally added means a substance is deliberately added in the production of the product. | People can be exposed through the use of products containing these chemicals. BPA is one of the highest volume chemicals produced worldwide. Laboratory studies have shown widespread health effects, at least in part through endocrine disruption mechanisms. The National Toxicology Program has some concern for the effects on the brain, behavior, and prostate gland in fetuses, infants, and children at current human exposures to Bisphenol A. |
|  |  | Does this product contain less than 1000 ppm halogenated organic flame retardants by weight of homogenous material? (Yes/No) | Yes | Halogenated organic flame retardants are intended to inhibit ignition and the spread of flames. Halogenated chemicals are chemicals that contain bromine, chlorine, fluorine or iodine bonded to a carbon atom. Homogeneous means uniform composition throughout, such as individual types of plastics or paper. Homogenous material, as defined by RoHS, is a unit that cannot be mechanically disjointed into single materials, or any material that is not mechanically divisible (disassembled, cut or ground) into separate material constituents. Mechanically disjointed means the materials can be, in principle, separated by mechanical actions such as unscrewing, cutting, crushing, grinding and abrasive processes. Guidance for suppliers on testing is available. | Halogenated organic flame retardants and/or their breakdown products tend to be persistent bioaccumulative and toxic (PBT) in the environment. They are widely found in the environment and in humans with Americans having some of the highest levels of them in their bodies. Some halogenated organic flame retardants are carcinogenic. These compounds are used in foams (for furniture and mattresses), textiles, paints and coatings, electronics, and plastics in health care. Alternatives exist that reduce the concern for environmental and human health effects. The European Union has a ban on some brominated flame retardants. In Europe, the Restriction of Hazardous Substances Directive (RoHS) restricts the use of PBDE’s and PBB’s in electronic equipment. Examples include, but are not limited to: Tetrabromobisphenol-A (CAS 79-94-7), Hexabromocyclododecane (CAS 25637-99-4), Deca-BDE (1163-19-5), Octa-BDE (CAS 32536-52-0), Penta-BDE (CAS 32534-81-9), Tris (2- chloroisopropyl phosphate) (TCPP) (CAS 13674-84-5), Tris(2-chloroethyl) phosphate (TCEP) (CAS 115-96-8), TDCP (Tris (1,3-dichloro-2-propyl) phosphate (CAS 13674-87-8) |
|  |  | Is this product free of intentionally added mercury? (Yes/No) | Yes | Mercury is a naturally occurring element that is found in air, water and soil. It exists in several forms: elemental or metallic mercury, inorganic mercury compounds, and organic mercury compounds. Intentionally added means a substance is deliberately added in the production of the product. | Medical facilities use a large variety of mercury-containing equipment and products. Mercury is persistent bioaccumulative and toxic (PBT) and is found in thermometers, sphygmomanometers, dental amalgam, lab reagents, cleaners, electrical switches, and other scientific apparatus. Mercury is a potent neurotoxicant that can affect the brain, spinal cord, and peripheral nerves. It is also toxic to the kidneys. Efforts in health care are intended to reduce exposure to patients and staff, address workplace safety, and safely handle products at the end of life. |
|  |  | Is this product free of intentionally added latex? (Yes/No) | Yes | Latex is natural rubber latex that comes from a liquid found in tropical rubber trees. Intentionally added means a substance is deliberately added in the production of the product. | Liquid latex is processed to make many medical and dental supplies, including gloves, blood pressure cuffs, urinary catheters, dental dams and material used to fill root canals, as well as tourniquets and equipment for resuscitation. Non-latex substitutes (synthetic latex) can be found for all of these latex-containing items. The protein in rubber can cause an allergic reaction in some people. This reaction can range from sneezing to anaphylactic shock, which is a serious condition that requires immediate medical attention. |
|  |  | Will this product be classified (on its own or when aggregated) as non-hazardous waste according to EPA’s RCRA when disposed? (under 40 CFR 261.31-33)? (Yes/No) | Yes | Hazardous wastes are those determined by EPA to be hazardous including those classified as hazardous and if products exhibit one of the four characteristics (defined in 40 CFR Part 261.21-24). Hazardous wastes are divided into listed wastes, characteristic wastes, universal wastes, and mixed wastes. Specific procedures determine how waste is identified, classified, listed, and delisted. The Resource Conservation and Control ACT (RCRA) mandates strict controls over disposal of hazardous waste. These listed wastes are divided into three categories: K-list, F-list, and the P and U-Lists. Characteristic wastes include wastes that exhibit ignitability, corrosivity, reactivity or toxicity. Universal wastes include batteries, pesticides, mercury-containing products and lamps. Examples include computer equipment, lead-containing products, and applicable cleaning chemicals. | Purchasers should know when products may become hazardous waste at the end of product use so that facilities can comply with EPA and RCRA regulations regarding the handling of hazardous waste or to seek alternatives during the procurement process. Reducing hazardous waste generation lessens the environmental impact and the expenses associated with disposal. Suppliers should seek alternative technologies to the greatest extent possible. Many state regulations may be more stringent than federal requirements. Consult the HERC State Hazardous Waste Locator to find more information on an individual state’s hazardous waste regulations. For more information on EPA listed wastes: http://www.epa.gov/osw/hazard/wastetypes/index.htm. |

| Additional Considerations |
| --- |
| 9. | Is this product free of intentionally added antimony? (Yes/No) | Yes | Antimony is a silvery-white metal that is found in the earth's crust. Antimony ores are mined and then either changed to antimony metal or combined with oxygen to form antimony oxide. | Antimony oxides (primarily antimony trioxide) are used as fire retardants for plastics, textiles, rubber, adhesives, pigments, and paper. According to EPA, acute (short-term) exposure to antimony by inhalation in humans results in effects on the skin and eyes. Respiratory effects, such as inflammation of the lungs, chronic bronchitis, and chronic emphysema, are the primary effects noted from chronic (long-term) exposure to antimony in humans via inhalation. Human studies are inconclusive regarding antimony exposure and cancer, while animal studies have reported lung tumors in rats exposed to antimony trioxide via inhalation. |
| 10. | Is this product free of intentionally added halogens? (Yes/No) | Yes | Halogens are any of the six nonmetallic elements that constitute Group 17 of the periodic table. The halogen elements are fluorine (F), chlorine (Cl), bromine (Br), iodine (I), astatine (At), and element 117 (temporarily named ununseptium [Uus]). The most common is chlorine | Textiles can be made with or coated with halogenated organic polymers such as fluorinated methacrylate or chlorinated polyethylene. These are used for stain-resistance, heat-tolerance, and other properties. |
| 11. | Is this product free of intentionally added heavy metals - lead, mercury, cadmium, and hexavalent chromium and is compliant with RoHS (Restriction on Hazardous Substances Directive)? (Yes/No) | Yes | RoHS restricts mercury and cadmium at no more than 100ppm, and hexavalent chromium and lead at 1000ppm. Although RoHS applies to electronic products, all products should be free of intentionally added heavy metals to prevent exposure. | Heavy metals are persistent bioaccumulative and toxic. Heavy metals may enter the human body through food, water, air, or absorption through the skin when they come in contact with humans in agriculture and in manufacturing, pharmaceutical, industrial, or residential settings. They may build up in biological systems and become a significant health hazard. Cadmium is an extremely toxic metal. Lead accounts for most of the cases of pediatric heavy metal poisoning (Roberts 1999). |
| 12. | Is this product free of intentionally added antimicrobials (Yes/No) | Yes, depending on application | “Antimicrobial” is used inclusively to refer to any agent (including an antibiotic) used to kill or inhibit the growth of microorganisms (bacteria, viruses, fungi, or parasites.) | Some health care facilities may wish to avoid products with antimicrobial surface treatments because overuse and unnecessary use of antimicrobials may contribute to the growing number of antimicrobial-resistant bacterial infections. According to WHO, a high percentage of hospital-acquired infections are caused by highly resistant bacteria such as methicillin-resistant Staphylococcus aureus (MRSA) and vancomycin-resistant enterococci. |
| Lighting Considerations |
| 13. | Does this product contain lamps that meet the mercury and lamp life criteria outlined below? (Yes/No) | Yes | All fluorescent lamps contain mercury, and some may contain lead and PCBs. Mercury content varies depending on the lamp and the manufacturer. Mercury is a persistent, bioaccumulative toxin and can be released during manufacture and transport; and if broken, mercury vapors can escape into the air. Mercury can be released when disposed in landfills, incinerators or metal smelters. Proper recycling and disposal after product use helps ensure mercury does not escape. We suggest end-of-life options be considered in preparing bid specifications to prevent mercury releases. | Prefer T-8 lamps and avoid T-12 lamps that are not as energy efficient. See Suggested Lighting Considerations from Practice Greenhealth found in the EPP Specs and Resources Guide under Building Materials. |
| 14. | Doe this product contain an LED lamp? (Yes/No) | Yes | Facilities are increasingly turning to LED (Light Emitting Diode) lamps, which do not contain mercury and achieve an order of magnitude higher efficiency than fluorescent lamps. |  |
| 15. | Is this product free of intentionally added lead in the lamp glass or solder? (Yes/No) | Yes | Some lamps contain lead glass or lead in their screw-in base from solder. | Lead can damage the nervous system and can lead to blood disorders or harm the mental development of children. 100% lead-free lamps are on the market. |

Practice Greenhealth © 2011

| Fluorescent Lamp | Mercury Reduction Criteria | Lamp Life Criteria |
| --- | --- | --- |
| Eight-foot T-8 (Standard and High Output) | Maximum 10 mg mercury | 18,000 rated hours on instant start ballasts OR 24,000 rated hours on program start ballasts |
| Four-foot T-8 (Standard and High Output) | Maximum 3.5 mg mercury | 18,000 rated hours on instant start ballasts OR 24,000 rated hours on program start ballasts |
| Three-foot T-8 | Maximum 6 mg mercury | 18,000 rated hours on instant start ballasts OR 24,000 rated hours on program start ballasts |
| Two-foot T-8 | Maximum 6 mg mercury | 18,000 rated hours on instant start ballasts OR 24,000 rated hours on program start ballasts |
| U-Bent T-8 | Maximum 8 mg mercury | 18,000 rated hours on instant start ballasts OR 24,000 rated hours on program start ballasts |
| 28-watt T-5 | Maximum 2.5 mg mercury | 20,000 rated hours on program start ballasts |
| 24-watt T5HO (High Output) | Maximum 2.5 mg mercury | 20,000 rated hours on program start ballasts |
| 54-watt T5HO (High Output) | Maximum 2.5 mg mercury | 25,000 rated hours on program start ballasts |

| Compact fluorescent lamps (CFLs) | Maximum 5 mg mercury | Minimum 10,000 rated hours Energy Star® qualified, (excluding pin base lamps) |
| --- | --- | --- |
| High Pressure Sodium (HPS) Lamp | Mercury Reduction Criteria |
| 50-watt HPS | Maximum 18 mg mercury |
| 70-150-watt HPS | Maximum 15 mg mercury |
| 200-watt or greater HPS (excluding exterior lamps) | Maximum 32 mg mercury |

# Endnotes

U.S. Environmental Protection Agency, “Air Toxics- Styrene,” http://www.epa.gov/ttnatw01/hlthef/styrene.html, website viewed June 2011

Ibid

Phaseout of HCFCs, Ozone Layer Depletion, U.S. EPA, http://www.epa.gov/ozone/title6/phaseout/classtwo.html viewed September 2011

RoHS Producer Support Booklet, National Measurement Office, 2010, pg 6, http://www.bis.gov.uk/assets/bispartners/nmo/docs/rohs/support-literature/producer-support-booklet.pdf

EPA: Information for Health Care Providers, http://www.epa.gov/hg/healthcare.htm#facilities, viewed August 30, 2011

Agency for Toxic Substances and Disease Registry (ATSDR). Toxicological Profile for Antimony. U.S. Public Health Service, U.S. Department of Health and Human Services, Altanta, GA. 1992

Ibid

OSHA, http://www.osha.gov/SLTC/metalsheavy/index.html

http://www.lef.org/protocols/prtcl-156.shtml#comm